## Cs 144
Vial | 137 | ± | 138 | ± | Cs 137 cps | ± | ppb/cps Estimate | ± | Total aliquot (g) | Total dilution mass (g) | DF initial | volume total of tube (ml) | Volume Sent (µL) | Volume sent (L) | Nitric Acid | Iron Sulfamate | density estimate (g/cc) | volume estimate measured (ml) | Multiplying Factor to tube estimate | Multiplying Factor to Original Aliquot | Mass | Avogadro | Decay to Date | Date Assy | Days Passed | Seconds Passed | Decay Correction
30G | 37988.08 | 194.9053 | 63047.6 | 251.0928 | 28111.2265 | 317.8611 | 1.1586e-05 | 1.3587e-08 | 0.0443 | 4.9031 | 110.6795 | 0.5 | 50 | 5e-05 | 4 | 0 | 1.1062 | 0.040046 | 12.4855 | 1 | 143.9136 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 0.7917
24G | 57047.58 | 238.8464 | 222543.04 | 471.7447 | 22184.6351 | 528.7633 | 1.1586e-05 | 1.3587e-08 | 0.0277 | 4.9139 | 177.3971 | 0.5 | 50 | 5e-05 | 4 | 0 | 1.1062 | 0.02504 | 19.9678 | 1 | 143.9136 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 0.7917
90G | 19125.82 | 138.2961 | 122212.58 | 349.5892 | 19125.82 | 375.95 | 1.1586e-05 | 1.3587e-08 | 0.039 | 4.9492 | 126.9026 | 6 | 50 | 5e-05 | 4 | 0.024 | 1.1106 | 0.035117 | 170.8573 | 1 | 143.9136 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 0.7917
| total grams of original Tube | Volume Correction (ml) | [to 4.5] Initial (Paul) | [to 5] Initial (Second) | ppb Cs 137 (Cs) (custom) | ± | Dilution Correction (James) | ± | V2/V1 | ± | Original Concentration (ppb) | ± | Mass per Aliquot (ng) | ± | total in sample (ng) | ± | total atoms | ± | λ (s) | Yield | BR | DPS to μCi
30G | 0.55311 | 5.167 | 93.006 | 103.34 | 0.3257 | 0.0037025 | 36.0483 | 0.40979 | 0.99558 | 0.099558 | 35.8889 | 3.612 | 19.8504 | 1.9978 | 2051.3449 | 206.4557 | 9023264737215050 | 908138119999944 | 2.816e-08 | 0.0164 | 1 | 37000
24G | 0.55311 | 5.167 | 93.006 | 93.006 | 0.25703 | 0.0061337 | 45.597 | 1.0881 | 0.99558 | 0.099558 | 45.3955 | 4.667 | 25.1086 | 2.5814 | 2335.249 | 240.0821 | 10272076009705832 | 1.0561e+15 | 2.816e-08 | 0.0164 | 1 | 37000
90G | 6.6634 | 5.167 |  | 103.34 | 0.22159 | 0.0043635 | 3.1902 | 0.55374 | 0.99558 | 0.099558 | 3.1761 | 0.63624 | 21.164 | 4.2396 | 2187.0849 | 438.1177 | 9620345547036232 | 1927151397488362 | 2.816e-08 | 0.0164 | 1 | 37000
Non Decay Corrected
| Original Vial (Evaporation Corrected) | [7 empty] | Corrected 1/100th vial (Evaporation Corrected) (TK Dillusion Corrected) | [7 empty] | Estimated total (vial to all of stock) (1/100th corrected) (Evap Corrected)
| ppb | ± | ng | ± | #atoms | ± | activity (μCi) | ± | ppb | ± | ng | ± | #atoms | ± | activity | ± | ppb | ± | ng | ± | #atoms | ± | activity | ±
30G | 35.8889 | 0.40798 | 19.8504 | 0.22566 | 8.3065e+13 | 944278497462.3091 | 63.219 | 0.71867 | 37.0876 | 0.42161 | 20.5134 | 0.2332 | 8.584e+13 | 975817399277.5503 | 65.3305 | 0.74267 | 37.0876 | 0.42161 | 2051.3449 | 23.3195 | 8583959349814352 | 9.7582e+13 | 6533.0483 | 74.2672
24G | 45.3955 | 1.0833 | 25.1086 | 0.59918 | 1.0507e+14 | 2.5073e+12 | 79.9649 | 1.9082 | 42.2205 | 1.0075 | 23.3525 | 0.55727 | 9.772e+13 | 2.3319e+12 | 74.3722 | 1.7748 | 42.2205 | 1.0075 | 2335.249 | 55.7272 | 9771971173787424 | 2.3319e+14 | 7437.216 | 177.478
90G | 3.1761 | 0.5513 | 21.164 | 3.6735 | 8.8562e+13 | 1.5372e+13 | 67.4022 | 11.6993 | 3.2822 | 0.56971 | 21.8708 | 3.7962 | 9.152e+13 | 1.5886e+13 | 69.6535 | 12.0901 | 3.2822 | 0.56971 | 2187.0849 | 379.6231 | 9151970768001016 | 1.5886e+15 | 6965.3483 | 1209.0099
| To Original Stock (0.5 ml) (1/100th corrected, Evap Corrected) | [7 empty] | Estimated total (corrected to all of stock)
| ppb | ± | ng | ± | #atoms | ± | activity | ± | ppb | ± | ng | ± | #atoms | ± | activity | ±
30G | 37.0876 | 0.42161 | 20.5134 | 0.2332 | 8.584e+13 | 975817399277.5503 | 65.3305 | 0.74267 | 37.0876 | 0.42161 | 2051.3449 | 23.3195 | 8583959349814352 | 9.7582e+13 | 6533.0483 | 74.2672
24G | 42.2205 | 1.0075 | 23.3525 | 0.55727 | 9.772e+13 | 2.3319e+12 | 74.3722 | 1.7748 | 42.2205 | 1.0075 | 2335.249 | 55.7272 | 9771971173787424 | 2.3319e+14 | 7437.216 | 177.478
90G | 3.2822 | 0.56971 | 21.8708 | 3.7962 | 9.152e+13 | 1.5886e+13 | 69.6535 | 12.0901 | 3.2822 | 0.56971 | 2187.0849 | 379.6231 | 9151970768001016 | 1.5886e+15 | 6965.3483 | 1209.0099
Formulas:
Decay to Date = [Decay to Date, row above]
Date Assy = [Date Assy, row above]

## Notes
| Ce 140ppb/cps | ±
MS-B (10.19) | 1.1586e-05 | 1.3587e-08 |  |  | 1. Assuming No Error in Volume Estimate (Consequently Mass Estimate)
2. Assuming all losses in 30G were from evaporation
3. Assuming loss of 0.01 g of 24 G from centrifuge (changes concentration change)
4. Assuming no error in mass of Cs 137
Notes: |  |  |  |  | 5. Didn't consider Matts Corrections (some of this mass is decayed Ba 137)
Results could be messed up based on neutron absorption |  |  |  |  | 6. Estimates for instrument response using Ba 137 were WAY off. Had to use Cs 133…WHY!?
Ba Contaminate (up to 450 ppb) |  |  |  |  | Calculations don't do the Matt and Paul Method of subtracting ppb…oh welz
Other yields into other mass bins are small or have short half lives |  |  |  |  | I think we are assuming mass fraction and atomic fraction are the same, they aren't
Nd 27.2
Ba | Ce 88.45 | Ce 11.114
10.19 ppb | 140 | 142 | ppb/cps 140 Estimate | ppb/cps 142 Estimate
MS-B | 760603.04 | 347353.12 | 1.185e-05 | 1.124e-05
| 796041.32 | 364951.92 | 1.1322e-05 | 1.0698e-05
|  |  | 1.1586e-05 | 1.3587e-08