## Nd148
Vial | 148 | ± |  |  |  |  | ppb/cps Estimate | ± | Total aliquot (g) | Total dilution mass (g) | DF initial | volume total of tube (ml) | Volume Sent (µL) | Volume sent (L) | Nitric Acid | Iron Sulfamate | density estimate (g/cc) | volume estimate measured (ml) | Multiplying Factor to tube estimate | Multiplying Factor to Original Aliquot | Mass | Avogadro | Decay to Date | Date Assy | Days Passed | Seconds Passed | Decay Correction
30G | 12497.46 | 111.792 |  |  |  |  | 1.0991e-05 | 5.81e-08 | 0.0443 | 4.9031 | 110.6795 | 0.5 | 50 | 5e-05 | 4 | 0 | 1.1062 | 0.040046 | 12.4855 | 1 | 147.9169 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 1
24G | 10505.22 | 102.495 |  |  |  |  | 1.0991e-05 | 5.81e-08 | 0.0277 | 4.9139 | 177.3971 | 0.5 | 50 | 5e-05 | 4 | 0 | 1.1062 | 0.02504 | 19.9678 | 1 | 147.9169 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 1
87G | 4475.2 | 66.8969 |  |  |  |  | 1.0991e-05 | 5.81e-08 | 0.0134 | 5.0464 | 376.597 | 0.5 | 50 | 5e-05 | 4 | 0 | 1.1062 | 0.012113 | 41.2767 | 1 | 147.9169 | 6.0221e+23 | 2014-11-21 | 2015-02-25 | 96 | 8294400 | 1
| total grams | Volume Correction (ml) | [to 4.5] Initial (Paul) | [to 5] Initial (Second) | ppb Nd 148 | ± | Dilution by James | ± | V2/V1 | Original Concentration (ppb) | ± | Mass per Aliquot (ng) | ± | total in sample (ng) | ± | total atoms | ± | λ (s) | Yield % (corrected) | BR | DPS to μCi
30G | 0.55311 | 5.167 | 93.006 | 103.34 | 0.13737 | 0.0014273 | 14.9153 | 0.15797 | 0.996 | 14.8556 | 0.15734 | 8.2168 | 0.087024 | 849.1195 | 8.993 | 3.457e+15 | 3.6613e+13 | 0 | 0.023883 | 1 | 37000
24G | 0.55311 | 5.167 | 93.006 | 93.006 | 0.11547 | 0.0012813 | 20.1954 | 0.2273 | 0.996 | 20.1146 | 0.22639 | 11.1255 | 0.12522 | 1034.7427 | 11.6459 | 4.2127e+15 | 4.7414e+13 | 0 | 0.023883 | 1 | 37000
87G | 0.55311 |  |  | 103.34 | 0.049189 | 0.00077991 | 18.2362 | 0.29371 | 0.996 | 18.1632 | 0.29254 | 10.0462 | 0.1618 | 1038.1769 | 16.7209 | 4.2267e+15 | 6.8076e+13 | 0 | 0.023883 | 1 | 37000
| Original Vial (Evaporation Corrected) | [7 empty] | Corrected 1/100th vial (Evaporation Corrected) (TK Dillution Corrected) | [7 empty] | Estimated total (vial to all of stock) (1/100th corrected) (Evap Corrected)
| ppb | ± | ng | ± | #atoms | ± | activity (μCi) | ± | ppb | ± | ng | ± | #atoms | ± | activity | ± | ppb | ± | ng | ± | #atoms | ± | activity | ±
30G | 14.8556 | 0.15734 | 8.2168 | 0.087024 | 3.3453e+13 | 354300443739.6349 | 0 | 0 | 15.3518 | 0.16259 | 8.4912 | 0.08993 | 3.457e+13 | 366134078560.5388 | 0 | 0 | 15.3518 | 0.16259 | 849.1195 | 8.993 | 3457020682559006 | 3.6613e+13 | 0 | 0
24G | 20.1146 | 0.22639 | 11.1255 | 0.12522 | 4.5295e+13 | 509792970496.1226 | 0 | 0 | 18.7078 | 0.21055 | 10.3474 | 0.11646 | 4.2127e+13 | 474138050139.6237 | 0 | 0 | 18.7078 | 0.21055 | 1034.7427 | 11.6459 | 4212748487982007 | 4.7414e+13 | 0 | 0
87G | 18.1632 | 0.29254 | 10.0462 | 0.1618 | 4.0901e+13 | 658756314645.7336 | 0 | 0 | 18.7699 | 0.30231 | 10.3818 | 0.16721 | 4.2267e+13 | 680758775554.9012 | 0 | 0 | 18.7699 | 0.30231 | 1038.1769 | 16.7209 | 4226730485345650 | 6.8076e+13 | 0 | 0
| To Original Stock (0.5 ml) (1/100th corrected, Evap Corrected) | [7 empty] | Estimated total (corrected to all of stock)
| ppb | ± | ng | ± | #atoms | ± | activity | ± | ppb | ± | ng | ± | #atoms | ± | activity | ±
30G | 15.3518 | 0.16259 | 8.4912 | 0.08993 | 3.457e+13 | 366134078560.5388 | 0 | 0 | 15.3518 | 0.16259 | 849.1195 | 8.993 | 3457020682559006 | 3.6613e+13 | 0 | 0
24G | 18.7078 | 0.21055 | 10.3474 | 0.11646 | 4.2127e+13 | 474138050139.6237 | 0 | 0 | 18.7078 | 0.21055 | 1034.7427 | 11.6459 | 4212748487982007 | 4.7414e+13 | 0 | 0
87G | 18.7699 | 0.30231 | 10.3818 | 0.16721 | 4.2267e+13 | 680758775554.9012 | 0 | 0 | 18.7699 | 0.30231 | 1038.1769 | 16.7209 | 4226730485345650 | 6.8076e+13 | 0 | 0
Formulas:
Decay to Date = [Decay to Date, row above]
Date Assy = [Date Assy, row above]

## Notes
| 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 152 | 154 |  | Nd 148 G1 | ± | Nd 148 G2 | ± | Nd 148 G3 | ± | Nd 148 G4 | ±
MS-B Nd, Sm, 10.19 ppb | 347353.12 | 114426.68 | 252207.22 | 78394.7 | 163425.32 | 140336.3 | 159080.56 | 126859.44 | 123524.22 | 254124.3 | 236974.64 |  | 55202.9026 | 494.1051 | 53360.5473 | 281.8477 | 54760.3166 | 135.4585 | 54404.0328 | 194.3067
Nd Part | 27.13 | 12.18 | 23.8 | 8.3 | 17.19 | 0 | 5.76 |  | 5.64 |  |  |  |  | Avg1 | 54281.725 | 284.4196 |  | Avg2 | 54582.1747 | 118.4315
Sm Part |  |  | 3.1 |  | ??? | 15 | 11.3 | 13.8 | 7.4 | 26.7 | 22.7
Ce | 11.114
1. Assuming No Error in Volume Estimate (Consequently Mass Estimate)
2. Assuming all losses in 30G were from evaporation
3. Assuming loss of 0.01 g of 24 G from centrifuge (changes concentration change)
4. Assuming no error in mass of isotopes…I am not doing that propagation
Notes | [6 empty] | 5. Didn't consider Matts Corrections (some of this mass is decayed Ba 137)
Mass Chain: Sm148,Pm148,Nd148,Pr148 | [6 empty] | 6. Ignore capture from Nd 147
Sm148 Has very small direct fission yeild
Pm 148 as well (all decayed away)
Nd is the isotope in question | [6 empty] | Mass Number | 142 | 143 | 144 | 145 | 146 | 148 | 150
Pr148 small half life, decays to Nd. | [6 empty] | Atomic % Abundance | 27.13 | 12.18 | 23.8 | 8.3 | 17.19 | 5.76 | 5.64
Other masses with less protons are more unstable. | [6 empty] | Atomic Mass | 141.9077 | 142.9098 | 143.9101 | 144.9126 | 145.9131 | 147.9169 | 149.9209
They decay more quickly. | [6 empty] | total | 3849.9564 | 1740.6415 | 3425.06 | 1202.7743 | 2508.2464 | 852.0013 | 845.5538
[7 empty] | sum | 14424.2336
Contaminates: | [6 empty] | 148 part | 0.059067
Nd Itself is a contaminate (up to 5 ppb - total Nd)
Sm doesn't have much contaminate
Results could be messed up based on neutron absorption | [6 empty] | Can ignore capture from other isotopes in chain, short lived and low half lives.
Ignored capture from Nd148…which is slightly wrong…but not terribly, equation gets hard to solve quickly if not