## Mo_Calculations
[9 empty] | 97 |  | 98 |  | 100 |  | ppb |  |  | ppb |  |  | ppb
|  | Assumed Count Time = |  | 40 | seconds |  | Mo Response | Avg (ppb/cps) | 2.6278e-05 | Avg (ppb/cps) | 2.5077e-05 | Avg (ppb/cps) | 2.3519e-05
|  | Assumed Mass Error = |  | 0.0002 | g |  |  | ± | 5.245e-07 | ± | 4.7873e-07 | ± | 5.1645e-07
[7 empty] | Ru Response | Avg (ppb/cps) |  | Avg (ppb/cps) | 2.5949e-05 | Avg (ppb/cps) | 2.4029e-05 |  |  |  | These results are before background is subtracted out
Evaporation Correction | Sample ID | Total aliquot (g) | Total dilution mass (g) | DF initial | ± | % |  | ± | CPS | ± | 3.6072e-07 | ± | 2.0002e-07 | ± | Mo 97 | ± | % | Mo 98 | ± | % | Mo 100 | ± | %
[7 empty] | Mo Response | MSCS-M (ppb/cps) | 2.9154e-05 | 2.4443e-07 | 2.7549e-05 | 2.019e-07 | 2.6422e-05 | 2.1614e-07
1 | 87G Trace | 0.0134 | 5.0464 | 376.597 | 5.6209 | 1.493% |  | 87G Trace | 4377.56 | 10.4613 | 6481.68 | 12.7296 | 6092.7 | 12.3417 | 43.3214 | 1.0847 | 2.504% | 61.2124 | 1.4882 | 2.431% | 53.965 | 1.437 | 2.663%
1 | 90G Trace | 0.039 | 4.9492 | 126.9026 | 0.6508 | 0.5128% |  | 90G Trace | 885.6 | 4.7053 | 2324.2 | 7.6227 | 1122.44 | 5.2973 | 2.9533 | 0.062851 | 2.128% | 7.3964 | 0.14821 | 2.004% | 3.3501 | 0.07718 | 2.304%
1 | 93G Trace | 0.0503 | 4.9884 | 99.173 | 0.39435 | 0.3976% |  | 93G Trace | 1080.84 | 5.1982 | 2751.5 | 8.2938 | 1265.7 | 5.6252 | 2.8168 | 0.058905 | 2.091% | 6.8429 | 0.13502 | 1.973% | 2.9522 | 0.067175 | 2.275%
1 | 96G Trace | 0.0364 | 4.9635 | 136.3599 | 0.74925 | 0.5495% |  | 96G Trace | 915.2 | 4.7833 | 2176.2 | 7.376 | 989.6 | 4.9739 | 3.2794 | 0.070021 | 2.135% | 7.4415 | 0.14997 | 2.015% | 3.1737 | 0.073589 | 2.319%
1 | 30G Trace Waste | 0.0289 | 4.9984 | 172.955 | 1.1969 | 0.6921% |  | 30G Trace Waste | 10719.82 | 16.3706 | 15295.8 | 19.5549 | 14494.84 | 19.036 | 48.7208 | 1.0319 | 2.118% | 66.3408 | 1.3498 | 2.035% | 58.962 | 1.3597 | 2.306%
1 | 30G Trace Original | 0.0443 | 4.9031 | 110.6795 | 0.4997 | 0.4515% |  | 30G Trace Original | 11373.98 | 16.8627 | 17061.3 | 20.6527 | 15941.38 | 19.9633 | 33.0806 | 0.67873 | 2.052% | 47.3537 | 0.93071 | 1.965% | 41.4972 | 0.93173 | 2.245%
1 | 42G taper | 0.0937 | 5.0049 | 53.4141 | 0.11403 | 0.2135% |  | 42G taper | 408 | 3.1937 | 988.82 | 4.972 | 506.4 | 3.5581 | 0.57268 | 0.012339 | 2.155% | 1.3245 | 0.0263 | 1.986% | 0.63617 | 0.01473 | 2.315%
1 | 70G | 0.0287 | 4.9332 | 171.8885 | 1.1978 | 0.6969% |  | 70G | 1034.44 | 5.0854 | 2590.68 | 8.0478 | 1200.08 | 5.4774 | 4.6725 | 0.10142 | 2.171% | 11.167 | 0.22958 | 2.056% | 4.8516 | 0.11394 | 2.349%
1 | 71G | 0.0406 | 5.0502 | 124.3892 | 0.61277 | 0.4926% |  | 71G | 1143.28 | 5.3462 | 2806.72 | 8.3766 | 1284.1 | 5.6659 | 3.7371 | 0.078791 | 2.108% | 8.755 | 0.17458 | 1.994% | 3.7567 | 0.086152 | 2.293%
1 | 72G | 0.0326 | 4.9708 | 152.4785 | 0.93547 | 0.6135% |  | 72G | 1049.6 | 5.1225 | 2828.32 | 8.4088 | 1181.68 | 5.4353 | 4.2056 | 0.090184 | 2.144% | 10.8146 | 0.21923 | 2.027% | 4.2377 | 0.098565 | 2.326%
1 | 73G | 0.0324 | 5.0772 | 156.7037 | 0.96733 | 0.6173% |  | 73G | 1005.6 | 5.014 | 2601.1 | 8.064 | 1167.28 | 5.402 | 4.1409 | 0.088944 | 2.148% | 10.2214 | 0.20751 | 2.03% | 4.3021 | 0.10013 | 2.327%
1 | 74G | 0.0679 | 4.9969 | 73.592 | 0.21679 | 0.2946% |  | 74G | 1351.3 | 5.8123 | 3386.08 | 9.2007 | 1494.5 | 6.1125 | 2.6132 | 0.053909 | 2.063% | 6.2489 | 0.1219 | 1.951% | 2.5867 | 0.058278 | 2.253%
1 | 75G trace waste | ** | 5.5175 | ** |  |  |  | 75G trace waste | 290.4 | 2.6944 | 748 | 4.3243 | 341.6 | 2.9223 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
1 | 81G trace | 0.0165 | 4.8581 | 294.4303 | 3.5689 | 1.212% |  | 81G trace | 1107.26 | 5.2613 | 2959.56 | 8.6017 | 1282.5 | 5.6624 | 8.5669 | 0.20415 | 2.383% | 21.8517 | 0.49821 | 2.28% | 8.8811 | 0.22618 | 2.547%
1 | 82G trace | 0.0404 | 4.9472 | 122.4554 | 0.60624 | 0.4951% |  | 82G trace | 1084.02 | 5.2058 | 2911.52 | 8.5316 | 1216.9 | 5.5157 | 3.4883 | 0.073664 | 2.112% | 8.9407 | 0.17827 | 1.994% | 3.5048 | 0.080475 | 2.296%
1 | 83G Trace | ** | 4.9318 | ** |  |  |  | 83G Trace | 892.8 | 4.7244 | 2321.82 | 7.6188 | 964 | 4.9092 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
1 | 84G trace | 0.0364 | 4.9192 | 135.1429 | 0.74256 | 0.5495% |  | 84G trace | 1118.44 | 5.2878 | 2916.34 | 8.5386 | 1304.1 | 5.7099 | 3.9719 | 0.084344 | 2.124% | 9.8834 | 0.19846 | 2.008% | 4.145 | 0.095565 | 2.306%
1 | 86G Trace | 0.0121 | 4.9885 | 412.2727 | 6.8144 | 1.653% |  | 86G Trace | 1139.26 | 5.3368 | 2858.7 | 8.4538 | 1230.48 | 5.5464 | 12.3425 | 0.32504 | 2.634% | 29.5548 | 0.75141 | 2.542% | 11.9312 | 0.3323 | 2.785%
1 | 24G Taper Waste | 0.0497 | 4.8765 | 98.1187 | 0.39486 | 0.4024% |  | 24G Taper Waste | 17219.1 | 20.748 | 24447.92 | 24.7224 | 23472.44 | 24.2242 | 44.3973 | 0.90557 | 2.04% | 60.1546 | 1.1752 | 1.954% | 54.1671 | 1.2105 | 2.235%
1 | 24G Trace Original | 0.0277 | 4.9139 | 177.3971 | 1.2809 | 0.722% |  | 24G Trace Original | 6262.38 | 12.5124 | 9397.12 | 15.3274 | 9069.7 | 15.058 | 29.1931 | 0.62237 | 2.132% | 41.8039 | 0.85595 | 2.048% | 37.8412 | 0.87696 | 2.317%
1 | 53G | 0.0101 | 5.0003 | 495.0792 | 9.8036 | 1.98% |  | 53G | 100 | 1.5811 | 271.2 | 2.6038 | 138.4 | 1.8601 | 1.301 | 0.041965 | 3.226% | 3.367 | 0.098091 | 2.913% | 1.6115 | 0.052342 | 3.248%
1 | 94G | 0.0057 | 4.8713 | 854.614 | 29.9865 | 3.509% |  | 94G | 634.4 | 3.9825 | 1691.3 | 6.5025 | 676 | 4.111 | 14.2471 | 0.58203 | 4.085% | 36.2465 | 1.4546 | 4.013% | 13.5876 | 0.56846 | 4.184%
1 | 47G | 2.5381 | 5.0625 | 1.9946 | 0.00017582 | 0.008815% |  | 47G | 917.6 | 4.7896 | 2164.2 | 7.3556 | 1070.42 | 5.1731 | 0.048095 | 0.00099226 | 2.063% | 0.10825 | 0.0020991 | 1.939% | 0.050215 | 0.0011291 | 2.248%
1 | 48G | 2.7002 | 5.3585 | 1.9845 | 0.0001646 | 0.008294% |  | 48G | 760.8 | 4.3612 | 1924.16 | 6.9357 | 919.22 | 4.7938 | 0.039675 | 0.00082391 | 2.077% | 0.095755 | 0.0018603 | 1.943% | 0.042903 | 0.00096831 | 2.257%
1 | 49G | 2.6624 | 5.5254 | 2.0753 | 0.00017305 | 0.008339% |  | 49G | 836.8 | 4.5738 | 2253.8 | 7.5063 | 973.6 | 4.9336 | 0.045636 | 0.00094442 | 2.069% | 0.1173 | 0.0022731 | 1.938% | 0.047522 | 0.001071 | 2.254%
1 | 50G | 2.5742 | 5.1252 | 1.991 | 0.0001731 | 0.008694% |  | 50G | 1146.46 | 5.3536 | 2771.5 | 8.3239 | 1324.9 | 5.7552 | 0.059982 | 0.0012296 | 2.05% | 0.13838 | 0.0026742 | 1.933% | 0.062041 | 0.0013887 | 2.238%
1 | 51G | 2.5093 | 5.0574 | 2.0155 | 0.00017933 | 0.008897% |  | 51G | 1065.64 | 5.1615 | 2610.68 | 8.0788 | 1303.28 | 5.7081 | 0.056439 | 0.0011592 | 2.054% | 0.13195 | 0.0025519 | 1.934% | 0.061779 | 0.0013833 | 2.239%
1 | 52G | 2.4789 | 5.054 | 2.0388 | 0.00018321 | 0.008986% |  | 52G | 1195.28 | 5.4664 | 3035.58 | 8.7115 | 1417.7 | 5.9534 | 0.064038 | 0.0013113 | 2.048% | 0.1552 | 0.0029962 | 1.931% | 0.067981 | 0.0015198 | 2.236%
[7 empty] | Mo Response | MS-D (ppb/cps) | 2.5732e-05 | 2.3003e-07 | 2.5176e-05 | 1.9947e-07 | 2.3243e-05 | 2.0298e-07
[7 empty] | Ru Response | MS-C (ppb/cps) |  |  | 2.5949e-05 | 3.6072e-07 | 2.4029e-05 | 2.0002e-07
[7 empty] | Mo Response | MSCS-M (ppb/cps) | 2.3948e-05 | 1.9396e-07 | 2.2507e-05 | 1.6219e-07 | 2.0893e-05 | 1.6467e-07
% of STD | 0.125 | [5 empty] | Ru Background on masses 98 & 100 (Also lots of Mo background)
% of Prop | 0.5 | [5 empty] | Assumed response with no Ru (Ru subtracted (and Mo) in PPB_Mo_Aliquot_Sent)

## PPB_Mo_Aliquot_Sent
Sample ID | Mo 97 | ± | % | Mo 98 | ± | % | Mo 100 | ± | % | ±^2 | ±^2 | ±^2 | Sum Mo | ± | %
87G Trace | 42.7244 | 1.0893 | 2.549% | 59.6874 | 1.5092 | 2.528% | 53.334 | 1.4465 | 2.712% | 1.1865 | 2.2776 | 2.0923 | 155.7459 | 2.3572 | 1.513%
90G Trace | 2.3563 | 0.11811 | 5.013% | 5.8714 | 0.29125 | 4.96% | 2.7191 | 0.1827 | 6.719% | 0.01395 | 0.084826 | 0.033381 | 10.9467 | 0.36353 | 3.321%
93G Trace | 2.2198 | 0.11606 | 5.228% | 5.3179 | 0.28477 | 5.355% | 2.3212 | 0.17871 | 7.699% | 0.01347 | 0.081092 | 0.031936 | 9.8588 | 0.35567 | 3.608%
96G Trace | 2.6824 | 0.12208 | 4.551% | 5.9165 | 0.29215 | 4.938% | 2.5427 | 0.18122 | 7.127% | 0.014903 | 0.085351 | 0.032839 | 11.1417 | 0.36482 | 3.274%
30G Trace Waste | 48.1238 | 1.0368 | 2.154% | 64.8158 | 1.3729 | 2.118% | 58.331 | 1.3698 | 2.348% | 1.0749 | 1.8848 | 1.8762 | 171.2706 | 2.1991 | 1.284%
30G Trace Original | 32.4836 | 0.68606 | 2.112% | 45.8287 | 0.96389 | 2.103% | 40.8662 | 0.94633 | 2.316% | 0.47068 | 0.92909 | 0.89554 | 119.1785 | 1.515 | 1.271%
42G taper | LLD | LLD | LLD | LLD | LLD | LLD | 0.0051727 | 0.16626 | 3214% | LLD | LLD | 0.027641 | 0.0051727 | 0.16626 | 3214%
70G | 4.0755 | 0.14243 | 3.495% | 9.642 | 0.33995 | 3.526% | 4.2206 | 0.20101 | 4.763% | 0.020285 | 0.11557 | 0.040407 | 17.938 | 0.41983 | 2.34%
71G | 3.1401 | 0.12731 | 4.054% | 7.23 | 0.30551 | 4.226% | 3.1257 | 0.18667 | 5.972% | 0.016208 | 0.093339 | 0.034846 | 13.4958 | 0.37999 | 2.816%
72G | 3.6086 | 0.13466 | 3.732% | 9.2896 | 0.33305 | 3.585% | 3.6067 | 0.19271 | 5.343% | 0.018133 | 0.11092 | 0.037139 | 16.505 | 0.40767 | 2.47%
73G | 3.5439 | 0.13383 | 3.776% | 8.6964 | 0.32546 | 3.742% | 3.6711 | 0.19352 | 5.271% | 0.017911 | 0.10592 | 0.03745 | 15.9115 | 0.4016 | 2.524%
74G | 2.0162 | 0.11361 | 5.635% | 4.7239 | 0.27878 | 5.902% | 1.9557 | 0.17556 | 8.977% | 0.012906 | 0.077719 | 0.03082 | 8.6959 | 0.34849 | 4.008%
75G trace waste | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
81G trace | 7.9699 | 0.22733 | 2.852% | 20.3267 | 0.55774 | 2.744% | 8.2501 | 0.28032 | 3.398% | 0.051679 | 0.31107 | 0.078581 | 36.5467 | 0.66433 | 1.818%
82G trace | 2.8913 | 0.1242 | 4.296% | 7.4157 | 0.30764 | 4.148% | 2.8738 | 0.18412 | 6.407% | 0.015426 | 0.094639 | 0.0339 | 13.1808 | 0.37943 | 2.879%
83G Trace | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
84G trace | 3.3749 | 0.13082 | 3.876% | 8.3584 | 0.31976 | 3.826% | 3.514 | 0.1912 | 5.441% | 0.017114 | 0.10225 | 0.036557 | 15.2474 | 0.39486 | 2.59%
86G Trace | 11.7455 | 0.34007 | 2.895% | 28.0298 | 0.79214 | 2.826% | 11.3002 | 0.37128 | 3.286% | 0.11565 | 0.62748 | 0.13785 | 51.0755 | 0.93861 | 1.838%
24G Taper Waste | 43.8003 | 0.91107 | 2.08% | 58.6296 | 1.2016 | 2.05% | 53.5361 | 1.2218 | 2.282% | 0.83005 | 1.444 | 1.4928 | 155.966 | 1.9408 | 1.244%
24G Trace Original | 28.5961 | 0.63036 | 2.204% | 40.2789 | 0.89192 | 2.214% | 37.2102 | 0.89246 | 2.398% | 0.39735 | 0.79551 | 0.79648 | 106.0852 | 1.4104 | 1.33%
53G | 0.70397 | 0.10845 | 15.41% | 1.842 | 0.26923 | 14.62% | 0.98052 | 0.17368 | 17.71% | 0.011761 | 0.072483 | 0.030164 | 3.5265 | 0.33824 | 9.592%
94G | 13.6501 | 0.59056 | 4.326% | 34.7215 | 1.476 | 4.251% | 12.9566 | 0.59209 | 4.57% | 0.34876 | 2.1786 | 0.35057 | 61.3282 | 1.6964 | 2.766%
47G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
48G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
49G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
50G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
51G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
52G | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
Background (Mo/Ru) (ppb) | 0.597 | 0 | 0 | 1.524 | 0.001 | 0 | 0.621 | 0.01 | 0
± (ppb) | 0.1 | 0 | 0 | 0.25 | 0.019 | 0 | 0.1 | 0.132 | 0
| Background subtracted Mo values reported above. Isotopes 98 and 100 had Ru subtracted out as well | [11 empty] | You may question, as I did, why the % error decreases…I plugged in the standard error propagation formula, and these are the results
| Lower limits of detection were determined based on the background Mo levels within each sample | [11 empty] | If you see an error in my calculations please let me know.
Some of the % errors drastically increase because the numbers are near the LLD
| 0.597 |  |  | 1.524 | 0.001 |  | 0.621 | 0.01
| 0.1 |  |  | 0.25 | 0.019 |  | 0.1 | 0.132

## DF
Over Pu tot
Sample ID | U ppb | ± | % | Pu ppb | ± | % |  | Mo 97 | ± | % | Mo 98 | ± | % | Mo 100 | ± | % | Sum Mo | ± | %
87G Trace | 147.1448 | 3.3284 | 0.02262 | 16.2222 | 0.18049 | 0.011126 |  | 2.6337 | 0.073261 | 2.782% | 3.6794 | 0.10164 | 2.762% | 3.2877 | 0.096379 | 2.931% | 9.6008 | 0.18035 | 1.878%
90G Trace | 1209.5542 | 21.4978 | 0.017773 | 317.0328 | 1.7786 | 0.0056101 |  | 0.0074322 | 0.00037488 | 5.044% | 0.01852 | 0.00092453 | 4.992% | 0.0085767 | 0.0005783 | 6.743% | 0.034529 | 0.0011629 | 3.368%
93G Trace | 5.997 | 0.10559 | 0.017607 | 23.6578 | 0.11346 | 0.0047961 |  | 0.093827 | 0.0049264 | 5.25% | 0.22478 | 0.012085 | 5.376% | 0.098117 | 0.0075685 | 7.714% | 0.41673 | 0.015166 | 3.639%
96G Trace | 4.8568 | 0.087239 | 0.017962 | 1.8879 | 0.011342 | 0.006008 |  | 1.4209 | 0.065226 | 4.591% | 3.134 | 0.15589 | 4.974% | 1.3469 | 0.096331 | 7.152% | 5.9018 | 0.19647 | 3.329%
30G Trace Waste | 4408.111 | 80.9686 | 0.018368 | 171.8096 | 1.1436 | 0.0066563 |  | 0.2801 | 0.0063158 | 2.255% | 0.37725 | 0.008376 | 2.22% | 0.33951 | 0.0082866 | 2.441% | 0.99686 | 0.014417 | 1.446%
30G Trace Original | 233709.3216 | 4114.9061 | 0.017607 | 4063.1125 | 20.9558 | 0.0051576 |  | 0.0079948 | 0.00017381 | 2.174% | 0.011279 | 0.00024426 | 2.166% | 0.010058 | 0.00023861 | 2.372% | 0.029332 | 0.00040239 | 1.372%
42G taper | 5668.3037 | 97.2392 | 0.017155 | 251.2867 | 0.93807 | 0.0037331 |  | LLD | LLD | LLD | LLD | LLD | LLD | 2.0585e-05 | 0.00066162 | 3214% | 2.0585e-05 | 0.00066162 | 3214%
70G | 102.3282 | 1.8824 | 0.018396 | 35.9599 | 0.25252 | 0.0070224 |  | 0.11333 | 0.0040399 | 3.565% | 0.26813 | 0.0096393 | 3.595% | 0.11737 | 0.0056504 | 4.814% | 0.49883 | 0.012189 | 2.444%
71G | 522.8546 | 9.2633 | 0.017717 | 183.4004 | 0.99992 | 0.0054521 |  | 0.017121 | 0.00070042 | 4.091% | 0.039422 | 0.0016796 | 4.261% | 0.017043 | 0.0010221 | 5.997% | 0.073586 | 0.0021104 | 2.868%
72G | 31.4368 | 0.56959 | 0.018119 | 10.0236 | 0.064225 | 0.0064074 |  | 0.36001 | 0.013631 | 3.786% | 0.92678 | 0.033753 | 3.642% | 0.35982 | 0.019364 | 5.381% | 1.6466 | 0.042017 | 2.552%
73G | 12.1654 | 0.22106 | 0.018171 | 3.871 | 0.024758 | 0.0063958 |  | 0.91551 | 0.035065 | 3.83% | 2.2465 | 0.085295 | 3.797% | 0.94835 | 0.050359 | 5.31% | 4.1104 | 0.10702 | 2.604%
74G | 83.3576 | 1.4404 | 0.017279 | 29.3968 | 0.12223 | 0.0041579 |  | 0.068587 | 0.0038751 | 5.65% | 0.16069 | 0.0095069 | 5.916% | 0.066529 | 0.0059784 | 8.986% | 0.29581 | 0.011918 | 4.029%
75G trace waste | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
81G trace | 10.3978 | 0.21793 | 0.020959 | 25.0247 | 0.28447 | 0.011368 |  | 0.31848 | 0.0097791 | 3.071% | 0.81226 | 0.024125 | 2.97% | 0.32968 | 0.011812 | 3.583% | 1.4604 | 0.031311 | 2.144%
82G trace | 2.6874 | 0.048429 | 0.018021 | 6.2903 | 0.034535 | 0.0054901 |  | 0.45964 | 0.019906 | 4.331% | 1.1789 | 0.049333 | 4.185% | 0.45686 | 0.029378 | 6.43% | 2.0954 | 0.061407 | 2.931%
83G Trace | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
84G trace | 0.31505 | 0.0064554 | 0.02049 | 0.72444 | 0.0044739 | 0.0061757 |  | 4.6586 | 0.18286 | 3.925% | 11.5377 | 0.4471 | 3.875% | 4.8507 | 0.26562 | 5.476% | 21.047 | 0.56034 | 2.662%
86G Trace | 25933.3641 | 614.4338 | 0.023693 | 3086.6871 | 46.8607 | 0.015182 |  | 0.0038052 | 0.0001244 | 3.269% | 0.0090809 | 0.00029132 | 3.208% | 0.003661 | 0.0001325 | 3.619% | 0.016547 | 0.00039443 | 2.384%
24G Taper Waste | 3022.0121 | 52.8521 | 0.017489 | 103.9141 | 0.47975 | 0.0046168 |  | 0.4215 | 0.0089809 | 2.131% | 0.56421 | 0.011854 | 2.101% | 0.5152 | 0.011996 | 2.328% | 1.5009 | 0.019921 | 1.327%
24G Trace Original | 25730.3497 | 475.5195 | 0.018481 | 1256.8637 | 9.0425 | 0.0071945 |  | 0.022752 | 0.00052757 | 2.319% | 0.032047 | 0.00074615 | 2.328% | 0.029606 | 0.00074133 | 2.504% | 0.084405 | 0.001276 | 1.512%
53G | 4.0019 | 0.10433 | 0.026071 | 0.75472 | 0.012227 | 0.016201 |  | 0.93276 | 0.14449 | 15.49% | 2.4406 | 0.35891 | 14.71% | 1.2992 | 0.23108 | 17.79% | 4.6726 | 0.45452 | 9.727%
94G | 0 | 0 | #DIV/0! | 0.048284 | 0.0014048 | 0.029095 |  | 282.7066 | 14.7395 | 5.214% | 719.1138 | 37.0437 | 5.151% | 268.3427 | 14.5371 | 5.417% | 1270.1631 | 50.9914 | 4.015%
47G | 923.5277 | 15.7195 | 0.017021 | 75.8174 | 0.24282 | 0.0032027 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
48G | 940.5815 | 16.0105 | 0.017022 | 14.3922 | 0.046089 | 0.0032023 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
49G | 797.098 | 13.5681 | 0.017022 | 3.1744 | 0.010158 | 0.0031998 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
50G | 304.3319 | 5.1802 | 0.017022 | 34.6394 | 0.11095 | 0.003203 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
51G | 88.6913 | 1.5097 | 0.017022 | 9.6309 | 0.030777 | 0.0031957 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
52G | 124.3597 | 2.1168 | 0.017022 | 12.8847 | 0.041213 | 0.0031986 |  | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD | LLD
[20 empty] | Average | ± | %
[6 empty] | 8_/4 | DF M1 | 1.0757 | 0.059082 | 5.493% | 0.60904 | 0.033141 | 5.442% | 1.1727 | 0.083822 | 7.148% | 0.84949 | 0.030893 | 3.637% | 0.92673 | 0.028029 | 3.024%
[6 empty] | 4_/5 | DF M2 | 0.079212 |  |  | 0.08239 |  |  | 0.087414 |  |  | 0.082857
[6 empty] | 5_/6 | DF M3 | 0.066035 |  |  | 0.071724 |  |  | 0.072846 |  |  | 0.07061
[6 empty] | 8_/6 | DF MT | 0.0056266 |  |  | 0.003599 |  |  | 0.0074674 |  |  | 0.00497
[6 empty] | 8_/20 | DF S | 2.101 | 0.082489 | 3.926% | 1.2421 | 0.048075 | 3.871% | 2.7473 | 0.11889 | 4.328% | 1.7726 | 0.048752 | 2.75% | 1.9658 | 0.040022 | 2.036%
[6 empty] | 22_/9 | DF P1 | #VALUE! |  |  | #VALUE! |  |  | 1438.2353 |  |  | 4100.3652
[6 empty] | 14_/23 | DF P2 | 0.073531 |  |  | 0.065842 |  |  | 0.051208 |  |  | 0.063308

## PPB_Mo_to_Stock
Sample ID | Mo 97 | ± | % | Mo 98 | ± | % | Mo 100 | ± | %
87G Trace | 42.7244 | 1.0893 | 2.549% | 59.6874 | 1.5092 | 2.528% | 53.334 | 1.4465 | 2.712%
90G Trace | 2.3563 | 0.11811 | 5.013% | 5.8714 | 0.29125 | 4.96% | 2.7191 | 0.1827 | 6.719%
93G Trace | 2.2198 | 0.11606 | 5.228% | 5.3179 | 0.28477 | 5.355% | 2.3212 | 0.17871 | 7.699%
96G Trace | 2.6824 | 0.12208 | 4.551% | 5.9165 | 0.29215 | 4.938% | 2.5427 | 0.18122 | 7.127%
30G Trace Waste | 48.1238 | 1.0368 | 2.154% | 64.8158 | 1.3729 | 2.118% | 58.331 | 1.3698 | 2.348%
30G Trace Original | 32.4836 | 0.68606 | 2.112% | 45.8287 | 0.96389 | 2.103% | 40.8662 | 0.94633 | 2.316%
DR (x3) | -0.2397 | Distribution Ratio |  | -0.23219 |  |  | -0.23377 |  | These Numbers Match…I am happy. This isn't exactly the distribution ratio, but rather a three contact distribution ratio. Contaminates Aren't considered
In order to go up to original solutions 93G Trace and 96G Trace had to be multiplied by constants
Vial 30G Trace Original is the original stock solution
Vial 87G basically vial 30G after 4 TBP contacts…
Based on dry run and blanks sent I would estimate the Mo concentration in TBP to be about ???? ppb
Based on dry run and blanks sent I would estimate the Mo concentration in the vials themselves to be ????
Background | 1