## Exp2
Assumes density of all solutions are the same (all are 4 M HNO3), Assumes 1% Error in volume, Assume 1% error in density | [24 empty] | 0.82187
Error: ρ, V | 0.01 | 0.01 |  | Before Evaporation Correction | [7 empty] | X Average and % Error |  | 0.82187 | 0.05 | After Evaporation Correction
Correction Factor | ρ | V | Sample ID | U ppb | ± | % | Pu ppb | ± | % |  | % Extraction | ± | Evaporation Correction | % Lost | Evaporation Correction2 | U ppb | ± | % | Pu ppb | ± | % |  | % Extraction | ±
| 1 |  | 30G Trace Original | 291745.959 | 15177.9458 | 5.202% | 5945.719 | 196.4634 | 3.304% | C1 U Ext | 99.86% | 0.01153% | 0.83639 | 0.19907 | 0.8335 | 243170.044 | 17546.2842 | 7.216% | 4955.7524 | 297.0075 | 5.993% | C1 U Ext | 99.88% | 0.01315%
| 1 | 0.5 | 30G x 0.5 ml x ρ | 145872.9795 | 8260.2647 | 5.663% | 2972.8595 | 118.6103 | 3.99% | C1 Pu Ext | 99.13% | 0.04584% | 0.83639 | 0.19907 | 0.8335 | 121585.022 | 9184.7417 | 7.554% | 2477.8762 | 158.5033 | 6.397% | C1 Pu Ext | 99.25% | 0.06574%
| 1 |  | 87G Trace (W1) | 417.7042 | 22.0086 | 5.269% | 51.7359 | 1.3526 | 2.615% | C1 U Bext | 7.018% | 0.5397% | 0.37724 | 0.75773 | 0.71415 | 298.3033 | 21.6679 | 7.264% | 36.9471 | 2.0847 | 5.642% | C1 U Bext | 6.526% | 0.6818%
| 1 | 0.5 | 87G x 0.5 ml x ρ | 208.8521 | 11.9542 | 5.724% | 25.8679 | 0.88994 | 3.44% | C1 Pu Bext | 108% | 5.625% | 0.37724 | 0.75773 | 0.71415 | 149.1516 | 11.3357 | 7.6% | 18.4736 | 1.1212 | 6.069% | C1 Pu Bext | 100.5% | 8.823%
0.88121 | 1 |  | 90G Trace (P1) | 1706.1108 | 87.089 | 5.105% | 535.3547 | 17.0592 | 3.187% |  |  |  | 0.75536 | 0.29766 | 0.77516 | 1322.5068 | 94.498 | 7.145% | 414.9849 | 24.6047 | 5.929%
| 1 | 6 | 90G x 6 ml x ρ | 10236.6649 | 532.7398 | 5.204% | 3212.1285 | 107.4103 | 3.344% | C2 U Bext | 4.846% | 0.3702% | 0.75536 | 0.29766 | 0.77516 | 7935.0407 | 572.6661 | 7.217% | 2489.9096 | 149.771 | 6.015% | C2 U Bext | 5.709% | 0.5942%
| 1 | 0.5 | 90G x 0.5 ml x ρ | 853.0554 | 47.5392 | 5.573% | 267.6774 | 10.4201 | 3.893% | C2 Pu Bext | 72.58% | 3.729% | 0.75536 | 0.29766 | 0.77516 | 661.2534 | 49.5085 | 7.487% | 207.4925 | 13.1482 | 6.337% | C2 Pu Bext | 85.5% | 7.473%
| 1 |  | 93G Trace (P2) | 6.8905 | 0.3531 | 5.124% | 32.3804 | 1.0349 | 3.196% | C3 U Ext | 100% | 0 | 0.92261 | 0.094161 | 0.91313 | 6.2919 | 0.45048 | 7.16% | 29.5674 | 1.7546 | 5.934% | C3 U Ext | 100% | 0
| 1 | 6 | 93G x 6 ml x ρ | 41.3431 | 2.1597 | 5.224% | 194.2825 | 6.5143 | 3.353% | C3 Pu Ext | 99.42% | 0.03423% | 0.92261 | 0.094161 | 0.91313 | 37.7515 | 2.7298 | 7.231% | 177.4044 | 10.68 | 6.02% | C3 Pu Ext | 99.51% | 0.04586%
| 1 | 0.5 | 93G x 0.5 ml x ρ | 3.4453 | 0.17988 | 5.221% | 16.1902 | 0.54218 | 3.349% |  |  |  | 0.92261 | 0.094161 | 0.91313 | 3.146 | 0.23597 | 7.501% | 14.7837 | 0.93751 | 6.342%
[10 empty] | C3 U Bext | 1244% | 92.04% | [9 empty] | C3 U Bext | 1026% | 107%
| 1 |  | 94G (W3) | 0 | 0 | #DIV/0! | 0.18845 | 0.0080778 | 4.286% | C3 Pu Ext | 122% | 5.827% | 0.2625 | 0.89735 | 0.76445 | 0 | 0 | #DIV/0! | 0.14406 | 0.0094876 | 6.586% | C3 Pu Ext | 100.6% | 8.819%
| 1 | 0.5 | 94G x 0.5 ml x ρ | 0 | 0 | #DIV/0! | 0.094226 | 0.0045554 | 4.835% |  |  |  | 0.2625 | 0.89735 | 0.76445 | 0 | 0 | #DIV/0! | 0.072031 | 0.0050098 | 6.955%
| 1 |  | 96G Trace (P3) | 7.1454 | 0.3673 | 5.14% | 3.2929 | 0.10699 | 3.249% |  |  |  | 0.71688 | 0.34448 | 0.75305 | 5.3808 | 0.38586 | 7.171% | 2.4797 | 0.14786 | 5.963%
| 1 | 6 | 96G x 6 ml x ρ | 42.8721 | 2.2463 | 5.239% | 19.7573 | 0.67244 | 3.403% |  |  |  | 0.71688 | 0.34448 | 0.75305 | 32.2847 | 2.3382 | 7.242% | 14.8781 | 0.8999 | 6.048%

## Exp1
Assumes density of all solutions are the same (all are 4 M HNO3), Assumes 1% Error in volume, Assume 1% error in density
Error: ρ, V | 0.01 | 0.01 |  | Before Evaporation Correction | [7 empty] | X Average and % Error | 0.82187 |  | 0.05 | After Evaporation Correction
Correction Factor | ρ | V | Sample ID | U ppb | ± | % | Pu ppb | ± | % |  | % In TBP (both hold up and transferred) | ± | Evaporation Correction | % Lost | Evaporation Correction 2 | U ppb | ± | % | Pu ppb | ± | % |  | % In TBP (both hold up and transferred) | ±
| 1 |  | 30G Trace Original | 291745.959 | 15177.9458 | 5.202% | 5945.719 | 196.4634 | 3.304% | C1 U TBP tot | 97.39% | 0.209% | 0.83639 | 0.19907 | 1 | 291745.959 | 21051.3492 | 7.216% | 5945.719 | 356.338 | 5.993% | C1 U TBP tot | 97.39% | 0.2788%
| 1 | 0.5 | 30G x 0.5 ml x ρ | 145872.9795 | 8260.2647 | 5.663% | 2972.8595 | 118.6103 | 3.99% | C1 Pu tot | 94.18% | 0.3237% | 0.83639 | 0.19907 | 1 | 145872.9795 | 11019.4958 | 7.554% | 2972.8595 | 190.1661 | 6.397% | C1 Pu tot | 94.18% | 0.5237%
[11 empty] | % Extracted | [11 empty] | % Extracted
| 1 |  | 30G Trace (W1) | 7613.8389 | 396.14 | 5.203% | 346.1653 | 10.9444 | 3.162% | C1 U Ext | 69.56% | 0.9951% | 0.60756 | 0.4775 | 1 | 7613.8389 | 549.4117 | 7.216% | 346.1653 | 20.4782 | 5.916% | C1 U Ext | 69.56% | 1.004%
| 1 | 0.5 | 30G x 0.5 ml x ρ | 3806.9195 | 215.5877 | 5.663% | 173.0826 | 6.7025 | 3.872% | C1 Pu Ext | 67.27% | 0.979% | 0.60756 | 0.4775 | 1 | 3806.9195 | 287.5928 | 7.554% | 173.0826 | 10.9461 | 6.324% | C1 Pu Ext | 67.27% | 1.022%
0.88121 | 1 |  | 86G Trace (P1) | 68438.8222 | 3934.4404 | 5.749% | 8981.4125 | 359.1045 | 3.998% |  | % In Product, just the final vial |  | 0.37231 | 0.76373 | 0.36832 | 25207.6601 | 1920.5722 | 7.619% | 3308.0697 | 211.7848 | 6.402% |  | % In Product, just the final vial
| 1 | 0.5 | 86G x 0.5 ml x ρ | 34219.4111 | 2110.7912 | 6.168% | 4490.7062 | 205.7237 | 4.581% | C1 U Bext | 23.46% | 1.964% | 0.37231 | 0.76373 | 0.36832 | 12603.83 | 1000.7885 | 7.94% | 1654.0348 | 112.1656 | 6.781% | C1 U Bext | 8.64% | 0.9469%
[10 empty] | C1 Pu Bext | 151.1% | 9.177% | [9 empty] | C1 Pu Bext | 55.64% | 5.187%
|  |  |  | 1 Contact | V | ± |  | Initial/Final -1 | ± |  | % Presumed in Fe (both hold up and trans) |  |  |  |  | 1 Contact | V | ± |  | Initial/Final -1 | ± |  | % Presumed in Fe (both hold up and trans)
|  |  |  | V HNO3 | 0.5 | 0.005 | Uranium | 37.3179 | 3.0687 | C1 U Fe tot | 28.15% | 2.391% |  | 0.9925 |  | V HNO3 | 0.5 | 0.005 | Uranium | 37.3179 | 4.0937 | C1 U Fe tot | 10.37% | 1.146%
|  |  |  | V TBP | 0.7 | 0.007 | Plutonium | 16.176 | 0.95499 | C1 Pu Fe tot | 181.3% | 11.31% |  | 37.11% |  | V TBP | 0.7 | 0.007 | Plutonium | 16.176 | 1.545 | C1 Pu Fe tot | 66.77% | 6.295%
|  |  |  | VHNO/VTBP | 0.71429 | 0.010102 | [6 empty] | DR U BExt | 6.8512 |  | VHNO/VTBP | 0.71429 | 0.010102
[7 empty] | DR U Ext | 26.6556 | 2.2241 | To determine DR we need to find the % of TBP taken |  |  | DrR Pu BExt | 0.009068 |  |  |  |  | DR U | 26.6556 | 2.9482 | To determine DR we need to find the % of TBP taken
|  |  |  | V TBP Ext | 0.5 | 0.005 | DR Pu Ext | 11.5543 | 0.70143 | C1 % in Fe from TBP (U) | 40.47% | 0.034848 |  |  |  | V TBP Ext | 0.5 | 0.005 | DR Pu | 11.5543 | 1.1156 | C1 % in Fe from TBP (U) | 14.9% | 0.01661
|  |  |  | V TBP Ext/In | 0.71429 | 0.010102 |  |  |  | C1 % in Fe from TBP (Pu) | 269.5% | 0.17259 |  |  |  | V TBP Ext/In | 0.71429 | 0.010102 |  |  |  | C1 % in Fe from TBP (Pu) | 99.25% | 0.09479
|  |  |  | V Fe Bext | 0.5 | 0.005 | [9 empty] | V Fe Bext | 0.5 | 0.005
|  |  |  | V fe Bext in | 0.6 | 0.006 |  |  |  | 1/Fe U | 2.4712 | 0.21281 |  |  |  | V fe Bext in | 0.6 | 0.006 |  |  |  | 1/Fe U | 6.7093 | 0.74771
|  |  |  | V Fe Bext/In | 0.83333 | 0.011785 |  |  |  | 1/Fe Pu | 0.37111 | 0.023769 |  |  |  | V Fe Bext/In | 0.83333 | 0.011785 |  |  |  | 1/Fe Pu | 1.0076 | 0.096228
|  |  |  | Vfe/VTBP | 1.2 | 0.016971 |  |  |  | DR U BExt | 1.7654 | 0.25879 |  |  |  | Vfe/VTBP | 1.2 | 0.016971 |  |  |  | DR U BExt | 6.8512 | 0.90445
[10 empty] | DrR Pu BExt | -0.75467 | 0.02921 | [9 empty] | DrR Pu BExt | 0.009068 | 0.11673